PRELIMINARY-PLAT REVIEW CHECKLIST


Does not



Comply
Complies
PROJECT NAME
DATE
Preliminary Plat Submission Requirements

The preliminary plat shall indicate the following information:

(
(
1.
Contours at intervals of five (5) feet maximum for terrain with slope at ten per cent (10%) or more, and at intervals of two (2) feet for terrain with slopes of less than ten per cent (10%);


(
(
2.
Proposed design including streets, alleys and sidewalks with proposed street names, lot lines with approximate dimensions, service easements, open space land to be reserved or dedicated for public uses and land to be used for purposes other than residential;


(
(
3.
Minimum building front yard setback lines for commercial/office, industrial and residential subdivisions and all setback lines for zero-lot-line, apartment and townhouse development;


(
(
4.
Natural features in and surrounding the proposed subdivision including drainage channels, bodies of water, wooded areas and other significant features, for all watercourses leaving the tract, the direction of flow shall be indicated and for all watercourses entering the tract, the drainage area above the point of entry shall be noted;


(
(
5.
Storm Drainage Analysis showing drainage data for all water-courses entering and leaving the plat boundaries;


(
(
6.
Date of survey, north point and graphic scale;


(
(
7.
Any portion of property within the floodway or the 100 year floodplain;


(
(
8.
Cultural features in and surrounding the proposed subdivision including existing and platted streets, bridges, culverts, utility lines, pipelines, power transmission lines, easements, parks, structures, city and county lines, section lines and other significant information;


(
(
9.
Preliminary storm drainage plan with proposed easement dimensions and typical ditch sections;


(
(
10.
Center line locations adjacent to all streets abutting proposed subdivision;


(
(
11.
Names of recorded subdivisions abutting the proposed subdivision, with plat book and page number or instrument number;


(
(
12.
Residential plats, names of owners of unplatted tracts abutting the proposed subdivision and the names of all owners of platted tracts in excess of 2.5 acres;  Nonresidential plats, in areas where zoning is not applicable, names of owners of all land contiguous to the proposed subdivision;  Both residential and commercial subdivisions, names of all owners of landlocked parcels contiguous or within the plat boundaries;


(
(
13.
Exact boundary lines of the tract indicated by a heavy line giving dimensions and all bearings;


(
(
14.
Zoning classifications within the plat and abutting areas;


(
(
15.
Municipal boundaries that pass through or abut the subdivision;


(
(
16.
Typical street cross sections and profiles when applicable;


(
(
17.
Floodplain analysis when applicable;


(
(
18.
Soils Test when applicable;


(
(
19.
Multi-family subdivisions must comply with Section 5.6.C of the Subdivision Regulations, and commercial or industrial subdivision must comply with Sections 5.10 and 5.11.


(
(
20.
Certificate of Preliminary Surveying Accuracy;


(
(
21.
Certificate of Preliminary Engineering Accuracy;


(
(
22.
Certificate of Preliminary Plat Approval;


(
(
23.
Preliminary Bill of Assurance;


(
(
24.
Preliminary Plat Filing Fees.

Staff Comments:

Staff Recommendations:

J:\Planning\PLANNING2\CKLIST\PrePlat.doc
Page 1 of 2

