SITE PLAN REVIEW CHECKLIST


Does not



Comply
Complies
PROJECT NAME
DATE
Site Plan Submission Requirements

(
(
1. A site plan is to be submitted on white paper no larger than twenty-four (24) inches by thirty six (36) inches, and no smaller than twelve (12) inches by twenty-four (24) inches, including:


(
(
2. Graphic scale.


(
(
3. Proposed lot lines if applicable


(
(
4.Existing and proposed vehicular and pedestrian circulation systems including streets, alleys, walkways, service areas and loading street parking areas and all points of vehicular ingress and egress.


(
(
5. Proposed perimeter treatment of the property, indicating screening materials to be used including fences, walls, and plant  materials.


(
(
6. Schematic landscape plan showing proposed treatment of the areas designated as private common open space.


(
(
7. Location and dimension of all existing and proposed utility drainage, and street easements and all existing public improvements within the site.


(
(
8. Proposed location of structures and structural dimensions, dimension of distances between buildings, and distances from structures to property lines.


(
(
9. Engineering drawings with pertinent location, dimensions and capacity of surface drainage in conformance with at least the minimum requirements of the City's subdivision Regulation Ordinance.   


(
(
10.
Statement of proposed use of land and structures.


(
(
11.
A topographical cross section map of the site and the location of the 100 year flood elevation if involved on the parcel of land.


(
(
12.
Quantitative data including the following information:


(
(
13. Parcel size.


(
(
14. Proposed building coverage of principal and accessory buildings.


(
(
15. Proposed floor area of principal and accessory buildings.


(
(
16. Proposed number of parking spaces.


(
(
17.
A registered land survey showing the exact property or boundary lines, including a legal description of the total site(s) proposed for development, including a statement of 
present ownership.


(
(
18.
Paid site plan review fee.


(
(
19.
Proof of a public notice being published one (1) time seven (7) days prior to the Planning Commission’s public meeting.

Review Procedure and Authority

The Planning Commission shall review site plans prior to the issuance of a building permit.  The plan will be assessed for compatibility with standards and criteria provided.  Public hearing of a site plan proposal shall take place at scheduled meetings at which time interested persons may appear and offer information in support of or against the proposed site plan.  The Planning Commission, following said public hearing, will then take one of the following steps:

· Approve the site plan as submitted;

· Approve the site plan with modifications;

· Defer the site plan for future review; or,

· Deny the site plan.

The Planning Commission may also impose such additional requirements as are necessary to safeguard the public health, safety and general welfare.  The Planning Commission may require the applicant to submit a revised site plan incorporating the imposed requirements and modifications or may elect to approve a site plan on the contingency the requirements and modifications will be made.

Does not



Comply
Complies
PROJECT NAME
DATE
Site Plan Disapproval.

A finding by the Planning Commission of lack of compliance with the following standards may result in disapproval.


(
(
20.
The proposed site plan is complete or contains or reveals no violations of this Regulation or applicable zoning regulations which the applicant has not, after written request, failed or refused to supply or correct.


(
(
21.
The proposed site plan does comply with the minimum height and bulk and area or density regulations applicable to the zoning classification for which the site plan has been requested.


(
(
22.
The proposed site plan does comply with the minimum screening and landscaping requirements of the City of Maumelle as determined by the Planning Commission or the Board of Directors.


(
(
23.
The proposed site plan does not interfere unnecessarily with easement, road-ways, utilities, and other public or private rights-of-way.


(
(
24.
The proposed pedestrian and vehicular circulation systems incorporated in the site plan do not subsequently create hazards to safety on or off the site.


(
(
25.
The proposed site plan does conform to the minimum drainage requirements found in the Subdivision Regulation.


(
(
26.
The proposed site plan does not violates the basic intent of this Regulation and complies with those conditions which were stipulated at the time of zoning designation.

Effect of Approval

An approved site plan shall be binding on the applicants and their successors and assignees.  No building permit shall be issued for any building or structure not in conformance with the site plan.  The construction, location, use, or operation of all land and structures within the site shall be in accordance with all conditions and limitations set forth in the site plan.  No structure, use or other element of an approved site plan shall be eliminated, altered, or provided in another manner unless an amendment is approved in accordance with this section, provided, however, that the Mayor may approve such minor changes in the site plan as will not cause any of the following circumstances to occur:

· Any change in the allowable use of the development.

· An increase of greater than five (5) per cent in the number of dwelling units, but not to exceed the total allowable dwelling units in the  respective zoning classification.

· Any modification compounding the problems of vehicular circulation, safety, and provision of public utilities.

· Any modification having an adverse impact on adjacent property.

· Any appreciable reduction of the approved building setback lines.

· Any reduction of the off-street parking and loading requirements below those specified in this Ordinance.

· Any change in the allowable size, lighting, or orientation of signs.

Does not



Comply
Complies
PROJECT NAME
DATE
Appeals

Any applicant aggrieved by a decision of the Planning Commission as it relates to the site plan review process shall have the right to appeal to the City of Maumelle Board of Directors.

Staff Comments:

Staff Recommendations:

J:\Planning2\CKLIST\SitePlan.doc
Page 1 of 3

